Working with biohazards

Hazard perception – Laboratory hazards – Food safety and quality control

Specification reference A4.5–A4.8

Define the term biohazard

Match the hazard groups with the biohazards (biological agents) and examples.

- Can cause severe human disease and may be a serious hazard to employees; it may spread to the community, but there is usually effective prophylaxis or treatment available.

- Causes severe human disease and is a serious hazard to employees; it is likely to spread to the community, and there is usually no effective prophylaxis or treatment available.

- Can cause human disease and may be a hazard to employees; it is unlikely to spread to the community, and there is usually effective prophylaxis or treatment available.

- Unlikely to cause human disease.

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education

Mycobacterium tuberculosis, influenza types A, B and C, Congo haemorrhagic fever virus and Bacillus subtilis

| Hazard group | Letter | Example |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |

Read the background information below, observe the technicians, complete the proforma below and watch the video (please note this is a fictional scenario for educational purposes).

Background information

This laboratory handles group 3 biological agents. The room has a self-closing door which isolates it from the rest of the building, but technicians revealed that in the summer they have this door propped open to cool the laboratory. The input air and extract air go through a high-efficiency particulate absorbing (HEPA) filter, but it was noted that it is currently out of compliance as it has not been changed in six months. On inspection, there were no disinfection or incidence logs kept for the laboratory. The laboratory has a high turnover of staff, but all members of staff in the video are authorised to work in this area. Waste material contaminated with viable microorganisms is autoclaved before being disposed of.

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.

Complete the table below

| Hazard no | Hazard – Video still (when appropriate) | Identify the breach(es) of the Control of Substances Hazardous to Health Regulations (2002) (COSHH) | Outline the possible implications of COSHH breaches | Identify the correct containment measures which should be used here |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.