Rothamsted Research – Risk assessment form

| Description of activity or task (including any tools or equipment to be used) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Instrument laboratory for Skalar continuous flow analysis (x2) and Shimadzu TOC (RR_QA_Doc/1006/006) |  |  |  |  |  |  |  |  |  |
| Location (including building and room, where applicable. For generic tasks, list the environment, eg labs, offices or outside) |  |  |  |  |  |  |  |  |  |
| Bawden Building, room 338 |  |  |  |  |  |  |  |  |  |
| Assessed by |  | Andrea Other |  |  |  |  |  |  |  |
| Date |  | 19.6.15 – updated 18.5.20 |  |  |  |  |  |  |  |
| People who may be affected (numbers) |  |  |  |  |  |  |  |  |  |
| Those directly involved |  |  |  |  | 2 | Members of public |  |  | 0 |
| Others working in vicinity |  |  |  |  | 4 | Young people |  |  | 0 |
| Other staff, eg maintenance or cleaning staff |  |  |  |  | 0 |  |  |  |  |
| Hazards (include amounts and hazard statements for chemicals) |  |  |  | Potential harm (eg injuries or health effects) |  |  |  |  |  |
| 1. Chemicals and reagents used in the operation of the Skalar flow analysers and Shimadzu TOC |  |  |  | Risk of burns to skin and exposure to toxic compounds |  |  |  |  |  |
| 2. Sample solutions |  |  |  | May cause skin irritation |  |  |  |  |  |
| 3. Moving parts on the Skalar analysers – autosampler probe and rotating parts of the pump head |  |  |  | Risk of physical injury to hands and fingers and danger of hair entanglement |  |  |  |  |  |
| 4. UV lamp on TOC analyser |  |  |  | Risk of eye damage |  |  |  |  |  |
|  |  |  |  | Add more rows if required |  |  |  |  |  |
| Precautions taken to reduce risk (eg containment or local exhaust ventilation) |  |  |  |  |  |  |  |  |  |
| The quantities of chemicals and reagents used are kept to a minimum, the use of personal protective equipment when handling reagents will reduce the risk. Sample solutions are contained in sample vials and are considered to be of low risk. During normal operation. it is necessary to work close to the moving parts. Operators are aware of these hazards and take extreme care when working on this equipment. Long hair tied back. |  |  |  |  |  |  |  |  |  |
| Additional documents and information (eg other risk assessments, guidance notes, policies, standard operating procedures or GM project number) |  |  |  |  |  |  |  |  |  |
| COSHH assessments are in place to cover the use of hazardous chemicals in this area. |  |  |  |  |  |  |  |  |  |
| Personal protective equipment (PPE) (list type of PPE to be used and any specific requirements) |  |  |  |  |  |  |  |  |  |
| Lab coat, gloves and safety glasses when handling acids. For some activities, a respirator should also be worn. |  |  |  |  |  |  |  |  |  |
| Monitoring procedures (eg health monitoring, machinery or equipment operation and maintenance schedule) |  |  |  |  |  |  |  |  |  |
| Instruments should be maintained regularly, parts kept clean and replaced when necessary. |  |  |  |  |  |  |  |  |  |
| Emergency procedures (specialist procedures to adopt in the event of an incident) |  |  |  |  |  |  |  |  |  |
| No specialist procedures required. |  |  |  |  |  |  |  |  |  |
| Is task adequately controlled? |  |  | Yes Hazards arising from these instruments can be adequately controlled by following good laboratory practice. Only fully trained staff are permitted to use this equipment. |  |  |  |  |  |  |
| If “No”, what further action is required to reduce risks? (list actions, by whom and timescale for completion) |  |  |  |  |  |  |  |  |  |
| Signed | A N Other |  |  |  |  |  | Date | (19.6.15) 18.5.20 |  |
| Review date | 18.5.21 |  |  |  |  |  |  |  |  |