Version No: V 002

Date: 15.04.99

Analytical unit

Protocol and procedure documents

Pages: 4

Issued by: W S Wilmer

Author: W S Wilmer

File name: H:\METHOD MANUALS\ 2010 PROTOCOL FOLDER\ LAB NOTEBOOKS\ Lab Notebook Use

P 2.1 Analytical unit laboratory notebook protocol

## Books additional to the laboratory notebooks

In the section, the solution preparation laboratory, soil preparation laboratory, total nitrogen (LECO) laboratories and the mass spectrometer (MS) facility will be using “Booking-in” books for sample tracking and forward planning of work. These books will contain the following information:

Date submitted

Batch number

Sponsor

Number of samples

Description

Ro number (not MS)

Date started/finished/out (not MS)

Filename – saved as (not MS)

Lab notebook page (not MS)

The standard book containing all information regarding standard materials will also run alongside the lab notebook.

## The laboratory notebook

Each area in the section will require a separate lab notebook:

Solution preparation (aqua regia, nitric/perchloric)

Soil preparation – Olsen bicarbonate extracts, exchangeable cations (ammonium nitrate and ammonium acetate, pH, CaCO3 and farmyard manure, Kjeldahl)

Total nitrogen (LECO CNS2000)

Total nitrogen (LECO Truspec)

Anion continuous flow analyses (Skalar)

TOC (UV)

TOC (HT)

ICP-OES

Isotope ratio MS (ANCA S, N and C)

The notebook will be assigned to the procedure or instrument and used for the above activities. It will not move with staff.

Lab notebook contents will be a record of daily activities and should contain the following information:

Date

Batch number

Sponsor

Cost code

Full description

Sample numbers

Analyses required

Weights – who weighed, balance used

Table of information with flask number, etc.

Standard operating procedure (SOP) used

Standard used – ranges and SOP number, recorded in standard book

Instrument parameters and operation

Problems with run or instrumentation

Action taken to correct problem

Quality control (QC) comment

Filename – results saved as, directory name

Date – results sent to sponsor

For anion analysis, TOC (UV + HT), ICP-OES and the mass spectrometers, the back of the book will be tabulated to contain the following content:

Date

Batch number

Sponsor

Sample number

Cost code

Filename

Lab notebook page number

For the mass spectrometry lab, weighing will be carried out by sponsors, weights will be recorded in their lab notebooks and a copy of this sheet will be stored with the results.

# Soil preparation notebook

Contents of lab notebook will be a record of daily activities and should include the following information:

Date

Sponsor

Batch and sample numbers

Full sample or batch description

Cost code

Analyses required – majors, traces, available P, per cent N, etc.

Weights – who weighed, balance used (initialling is OK)

Table of information – flask number, etc.

SOP used

Standards used

Problems with extraction or instrumentation

Action taken to correct the problems

QC comment – Leave a couple of blank lines to incorporate QC comments after the samples have been analysed – “Zn blanks are high”, “Olsen P standards too low”, etc.

Filename – results saved as – Include the date the samples were analysed and the directory and filename, eg Sept 05/PRP562

# Solution laboratory notebook

Contents of the lab notebook will be a record of daily activities and should contain the following information:

Date

Batch number

Sponsor

Cost code

Full description

Sample numbers

Analyses required

Weights – who weighed, balance used

Table of information – flask number, etc.

SOP used

Standard used – ranges and SOP number, recorded in standard book

Instrument parameters and operation

Problems with run or instrumentation

Action taken to correct the problems

QC comment

Filename – results saved as

Changes to the current solution lab notebook should include:

- Who weighed and where, if different to normal

- Some clear information on samples and where they are in the block, ie diagram at the front explaining tube positions (L to R, F to B)

- SOP number (the manual number for the method being used). If changes are made to the method, it must MUST be changed in the manual or an SOP number is not listed

- Problems with the run – make sure everything is noted clearly

- Leave … number of blank lines to incorporate QC comments after the samples have been analysed, eg “Zn blanks are high” or “S results are too low”

- The page number in the standard book should be recorded

- Include the date the samples were run or analysed, with the filename, eg PRP562/99.2

# LECO total N and C notebook

Contents of the lab notebook will be a record of daily activities and should contain the following information:

Date

Batch number

Sponsor

Cost code

Full description

Sample numbers

Analyses required

Weights – who weighed, balance used

Table of information – flask number, etc.

SOP used

Standard used – ranges and SOP number, recorded in standard book

Instrument parameters and operation

Problems with run or instrumentation

Action taken to correct the problems

QC comment

Filename – results saved as

Changes to the current total N (LECO) notebook should include:

- Record the RO number

- Full description

- Analyses required, ie per cent N or per cent C

- Who weighed and what balance was used (initialling is OK)

- In the table where weights are recorded, there should be another column which records the position of samples on the new sample trays

- Position of samples in the sample rack on the autoloader MUST be included, ie a diagram of the rack (T to B, L to R) could be included at the front of the book. Position 1 should always be marked on the table

- SOP number (the manual number for the method being used). If changes are made to the method, it MUST be changed in the manual or an SOP number is not listed

- Description of in-house standards used

- Page number of standards recorded in the standard book should also be included

- Instrument parameters and operation

- Which tubes have been changed – record every time a tube is changed

- Problems with the run – make sure everything is noted clearly, eg autosampler failure or sample rack jammed

- Action taken to repair the above problems, success of action, etc.

- QC comments about the run, eg “Rpts OK” or “In-house standards all within range”

- The page number in the standard book should be recorded

- Filename and results saved as

W S Wilmer and A R Crosland (April 1999)